Here is a first clean kravspecifikation draft.

Kravspecifikation

Simple photo measurement app for metallurgical grain size images

1. Purpose

The app shall allow the user to measure dimensions in microscope/metallurgical photos by using a separate reference photo with a known scale.

Primary use case:

A user has:

- A photo of a ruler / scale at the same magnification as the sample photo.

- A photo of etched steel microstructure showing grains.

The app shall let the user calibrate pixel size from the ruler image and then measure grain sizes in the microstructure image.

2. Basic workflow

The app shall support this workflow:

- Load reference image.

- Load microstructure image.

- Align or overlay the two images if needed.

- Define known distance on the reference image.

- Calculate pixel-to-mm scale.

- Use that scale on the microstructure image.

- Measure grain sizes manually.

- Export/save the measurements.

3. Required functions

3.1 Image loading

The app shall allow the user to load:

- one reference image

- one measurement image

The images shall be displayed separately or as layers in the same workspace.

Accepted image formats should include at least:

- JPG

- PNG

- TIFF, if simple to support

3.2 Scale calibration

The user shall be able to define a known distance on the reference image.

Minimum requirement:

- user clicks point A

- user clicks point B

- user enters the real distance between A and B, for example 1.00 mm

- app calculates:

mm per pixel

pixels per mm

The calibration shall then be applied to the measurement image.

The app shall clearly show the current calibration, for example:

Scale: 0.0025 mm/pixel

or

Scale: 400 pixels/mm

3.3 Manual measurement

The user shall be able to measure grain sizes manually.

Minimum measurement tools:

- line measurement between two clicked points

- optional freehand/polyline measurement

- optional circular/ellipse fit around a grain

Each measurement shall store:

- measurement number

- pixel length

- real length in mm

- real length in µm

- optional note/comment

For grain size work, µm should probably be the main displayed unit.

Example:

Measurement 12: 42 px = 0.084 mm = 84 µm

3.4 Image adjustment

The app shall allow simple visual adjustment of the microstructure image.

Required:

- brightness

- contrast

- grayscale conversion

Nice to have:

- sharpen

- blur/noise reduction

- threshold preview

- invert colors

Important:

Image adjustments should not destroy the original image. They should be applied as display/settings layers, not overwrite the source image unless explicitly exported.

3.5 Overlay / alignment

The app shall allow the reference image and microstructure image to be viewed at the same scale.

Minimum:

- show reference image

- show sample image

- apply the same calibration to the sample image

Nice to have:

- overlay reference image on top of sample image

- opacity slider

- move/rotate layer manually

But for the first version, true overlay is not strictly necessary if the scale is the same and calibration is transferred correctly.

4. Semi-automatic grain detection

This should be treated as an optional second-level feature.

The app may attempt to detect grain boundaries using image processing.

Possible workflow:

- User adjusts contrast/threshold.

- App creates a binary or edge-detected version.

- App identifies enclosed grain regions.

- App calculates approximate grain dimensions.

For each detected grain, the app may calculate:

- area

- equivalent circle diameter

- major/minor axis

- perimeter

- centroid

- bounding box

Equivalent diameter:

Diameter of a circle with the same area as the detected grain

This is probably better than trying to measure one “diameter” of an irregular grain.

The user shall be able to reject bad detections manually.

5. Measurement data

The app shall maintain a table of measurements.

Each row should contain:

ID

Type: manual / automatic

Pixel value

Length in µm

Area in µm², if relevant

Comment

Accepted / rejected

The user shall be able to:

- delete measurements

- rename measurements

- mark measurements as invalid

- export measurements

6. Export

The app shall export results as:

Required:

- CSV file with measurement data

Nice to have:

- annotated image with measurement lines

- screenshot/exported PNG

- simple PDF report

CSV should include calibration data at the top or in separate columns.

Example fields:

image_name

calibration_mm_per_pixel

measurement_id

measurement_type

pixels

length_mm

length_um

area_um2

comment

7. User interface requirements

The app should be simple and practical.

Main areas:

- Image view

- Tool panel

- Measurement table

- Calibration info

The app should avoid advanced menus unless needed.

Suggested tool buttons:

Load reference

Load sample

Calibrate scale

Measure line

Adjust image

Detect grains

Export CSV

8. Accuracy requirements

The app shall not claim higher accuracy than the image quality allows.

The app should show:

- pixel resolution

- calibration distance used

- calculated scale

- number of measurements

- mean grain size

- standard deviation, if multiple measurements exist

The app should make it clear that automatic detection is only an approximation unless manually verified.

9. Deliberate limitations for first version

To keep the app small, version 1 does not need:

- database storage

- cloud sync

- AI segmentation

- full metallurgical standard compliance

- automatic report writing

- advanced microscope metadata support

- batch processing

10. Version 1 minimum viable app

The smallest useful version should do this:

- Load reference image.

- Load grain image.

- User marks known distance on reference.

- App calculates pixel-to-µm scale.

- User measures lines on grain image.

- App lists measurements.

- App exports CSV.

That alone would already be useful.

11. Later version ideas

Possible later improvements:

- automatic grain boundary detection

- histogram of grain sizes

- mean / median / standard deviation

- ASTM-style grain size calculation

- compare several samples

- save project file

- annotated image export

- calibration library for known microscope magnifications

My immediate recommendation:
Version 1 should be manual measurement + calibration + CSV export.
Automatic grain detection should be a separate optional module, because it can easily become the whole project.